## Exposure Screening Tool
Exposure Screening Tool
Complete grey shaded cells to screen the project for climate change related hazards. Some are populated with drop down lists.
General | Criticality | See "Appendix - Criticality"
| Cost | Major or Minor project
| Estimated useful life (years) | See "Appendix - Useful Life" | 0
| Projected construction completion date (calendar year) | Review preliminary schedule to determine projected calendar year of construction completion | 0
| Projected end of useful life (year) | Sum of the above (autocalculated) | 0
| Climate projections | See "Appendix - Design Adjustment" | Present to 2039
Exposure Screening Tool
| Risk Screening Question | Directions | Answer | FOR SCORING | Total Score and Next Steps
Heat | Does the facility include new construction of, or substantial improvements to, the landscape, hardscape, roof, HVAC, building envelope, ventilation system, or façade? | All parts of NYC are exposed to extreme heat. New construction projects or substantial improvements that include changes to the landscape, hardscape, roof, HVAC, building envelope, ventilation system, or façade could affect the material performance of a project, thermal comfort of occupants, and/or increase ambient temperatures. If the project includes any of those components, answer 'yes.' | Yes = 1 | 1
[5 empty] | Total Score | Exposure Rating
[5 empty] | 2-5 | Low
[5 empty] | 6-8 | Medium
[5 empty] | 9-10 | High
If the project is less than $50M: …and scores "Medium" or "High" consult Section II.A of the Guidelines. …and scores "Medium" or "High" consult Section II.A of the Guidelines. …and scores a "Low" using the Guidelines is not required. If the project is $50M or more: …and scores "Medium" or "High" complete a detailed Risk Assessment (See Section III) and then consult Section II.A in the Guidelines. …and scores a "Low" using the Guidelines is not required.
Heat Vulnerability Score
| Is the facility in a neighborhood tabulation area with high heat vulnerability? | Identify the neighborhood tabulation area your facility is located in. Locate that neighborhood tabulation area on the Heat Vulnerability Index map located in Section II.A of the Guidelines and note the area’s vulnerability. Select the corresponding answer. HVI map: http://a816-dohbesp.nyc.gov/IndicatorPublic/VisualizationData.aspx?id=2411,719b87,107,Summarize NTA map: https://data.cityofnewyork.us/City-Government/NTA-map/d3qk-pfyz | Low = 1 | 1
# of Heat Waves
| How many annual heat waves are projected to occur at the end of the facility’s useful life? | See Section II.A of the Guidelines and note the annual heat wave projection according to the useful life of the facility. Select the corresponding answer. | 2 days = 1 | 1
[5 empty] | SCORE | 3
[5 empty] | EXPOSURE RATING | Low
Precipitation
| Does the facility require a new DEP site connection proposal, or a modification to the existing site connection plan? | The intensity and frequency of precipitation events are projected to increase across all parts of NYC, creating new challenges for stormwater management and impacts to the built environment. New construction projects provide opportunities to accommodate increased precipitation flow volumes, and typically require submitting a new site drainage connection proposal to DEP for review and approval. If a project is a substantial improvement, the scope of work of the substantial improvement would dictate if the previously approved DEP site connection plan will require modifications. If a new site connection proposal or modifications are required, answer ‘yes.’ |  |  | Total Score | Exposure Rating
[5 empty] | 1 | Low
[5 empty] | 2 | Medium
[5 empty] | 3-4 | High
If the project is less than $50M: …and scores "Medium" or "High" consult Section II.B of the Guidelines. …and scores a "Low" using the Guidelines is not required. If the project is $50M or more: …and scores "Medium" or "High" complete a detailed Risk Assessment (See Section III) and then consult Section II.B in the Guidelines. …and scores a "Low" using the Guidelines is not required.
| Does the site have a history of flooding during precipitation events? | Consult institutional knowledge (for example, if this site experiences non-coastal flooding during heavy rain events) and 311 service requests for flooding at or near this site (see hyperlink below) and select “yes” if there is a history of flooding at the site. https://data.cityofnewyork.us/Social-Services/Street-Flooding/wymi-u6i8
| Will there be a net increase in impervious area on the site as a result of the project? | Refer to preliminary site plans (if they are part of the project scope) or consult with Capital Project Initiation team. Choose ‘yes’ if a net increase in impervious area is anticipated.
[5 empty] | SCORE | 0
EXPOSURE RATING
Sea Level Rise
| Current Flood Risk Is the facility in the current 1% annual chance floodplain (100-year)? | Visit NYC Flood Hazard Mapper.* Click on the Map Legend and select the ‘Preliminary Flood Insurance Rate Maps 2015’. Search for or navigate to the site to see if it is located within the current effective floodplain. If the site is shown to be all or partly in the current floodplain, answer ‘yes.’ http://www.nyc.gov/floodhazardmapper |  |  | Total Score | Exposure Rating
[5 empty] | 0 | Not Exposed
[5 empty] | 1 | Low
[5 empty] | 2 | Medium
[5 empty] | >3 | High
If the project is less than $50M: …and scores "Medium" or "High" consult Section II.C of the Guidelines. …and scores a "Low" using the Guidelines is not required. If the project is $50M or more: …and scores "Medium" or "High" complete a detailed Risk Assessment (See Section III) and then consult Section II.C in the Guidelines. …and scores a "Low" using the Guidelines is not required.
| Future Flood Risk Is the facility in the future 1% annual chance floodplain (100-year) at any point during its useful life? | Visit NYC Flood Hazard Mapper.* Click on the Map Legend and select the ‘Future Floodplain’ that corresponds to the project useful life. Search for or navigate to the property to see if it is located within the future floodplain. If the site is shown to be all or partly in the future floodplain, answer ‘yes.’ http://www.nyc.gov/floodhazardmapper
| Current Tidal Inundation Does this site have a history of flooding from high tide events? | Potential sources to answer this question include institutional knowledge (for example, if this site floods during regular high tides) or history of 311 service requests (see hyperlink below). If the site is shown to have a history of tidal flooding, answer ‘yes.’ https://data.cityofnewyork.us/Social-Services/Street-Flooding/wymi-u6i8
| Future Tidal Inundation Are there critical access roads to the site that will be inundated by future high tides? | Visit the NYC Flood Hazard Mapper.* Click on the Map Legend and select the “High Tide” scenario that corresponds to the project useful life. Identify if any primary access roads to the site are inundated from high tide plus sea level rise. If the site is shown to have roads at risk of tidal inundation, answer ‘yes.’ http://www.nyc.gov/floodhazardmapper
*For more information on how to use the Flood Hazard Mapper, see Climate Resiliency Design Guidelines Section II.C.
[5 empty] | SCORE | 0
[5 empty] | EXPOSURE RATING | Not Exposed

## Appendix - Useful Life
Useful Life
Facilities and components and associated climate change projections
Climate Change Projections (time period covered) | Examples of buildings, infrastructure, landscape, and components grouped by typical useful life
2020s (through to 2039) | Temporary or rapidly replaced components and finishings | • Interim and deployable flood protection measures
• Asphalt pavement, pavers, and other ROW finishings
• Green infrastructure
• Street furniture
• Temporary building structures
• Storage facilities
• Developing technology components (e.g., telecommunications equipment, batteries, solar photovoltatics, fuel cells)
2050s (2040-2069) | Facility improvements, and components on a regular replacement cycle | • Electrical, HVAC, and mechanical components
• Most building retrofits (substantial improvements)
• Concrete paving
• Infrastructural mechanical components (e.g., compressors, lifts, pumps)
• Outdoor recreational facilities
• At-site energy equipment (e.g., fuel tanks, conduit, emergency generators)
• Stormwater detention systems
2080s (2070-2099) | Long-lived buildings and infrastructure | • Most buildings (e.g., public, office, residential)
• Piers, wharfs, and bulkheads
• Plazas
• Retaining walls
• Culverts
• On-site energy generation/co-generation plants
2100+ | Assets that cannot be relocated | • Major infrastructure (e.g., tunnels, bridges, wastewater treatment plants)
• Monumental buildings
• Road reconstruction
• Subgrade sewer infrastructure (e.g., sewers, catch basins, outfalls)

## Appendix - Critical Facilities
Critical Facilities
Facilities defined as critical
The criticality definitions below are for use in the application of the Guidelines only. All items identified as critical in NYC Building Code Appendix G are critical in these Guidelines; however, this list includes additional facilities that are not listed in Appendix G. If a facility is not listed here, it is considered non-critical for the purposes of these Guidelines.
• Hospitals and health care facilities;
• Fire, rescue, ambulance, and police stations, as well as emergency vehicle garages;
• Jails, correctional facilities and detention facilities;
• Facilities used in emergency response, including emergency shelters, emergency preparedness, communication, operation centers, communication towers, electrical substations, back-up generators, fuel or water storage tanks, power generating stations and other public utility facilities;
• Critical aviation facilities such as control towers, air traffic control centers and hangars for aircraft used in emergency response;
• Major food distribution centers (with an annual expected volume of greater than 170,000,000 pounds);
• Buildings and other structures that manufacture, process, handle, store, dispose, or use toxic or explosive substances where the quantity of the material exceeds a threshold quantity established by the authority having jurisdiction and is sufficient to pose a threat to the public if released;
• Infrastructure in transportation, telecommunications, or power networks including bridges, tunnels (vehicular and rail), traffic signals, (and other right of way elements including street lights and utilities), power transmission facilities, substations, circuit breaker houses, city gate stations, arterial roadways, telecommunications central offices, switching facilities, etc.;
• Ventilation buildings and fan plants;
• Operations centers;
• Pumping stations (sanitary and stormwater);
• Train and transit maintenance yards and shops;
• Wastewater treatment plants;
• Water supply infrastructure;
• Combined-sewer overflow (CSO) retention tanks;
• Fueling stations;
• Waste transfer stations; and
• Facilities where residents have limited mobility or ability, including care facilities and nursing homes.

## Appendix - Design Adjustment
Design Adjustment Criteria
Provided for reference. Full datasets can be found in the Climate Resiliency Design Guidelines Appendices.
HEAT
Current and projected extreme heat events and design criteria.
| Extreme heat events |  |  | Design criteria
End of | # of heat waves per year | # days at or above 90°F | Annual average temperature | 1% Dry Bulb temperature | Cooling Degree Days
useful life |  |  |  |  | (base = 65°F)
Historic Trend | 2 | 18 | 54°F | 91°F | 1149
(1971-2000)
2020s | 4 | 33 | 57.2°F | -- | --
(through to 2039)
2050s | 7 | 57 | 60.6°F | 98°F | 2149
(2040-2069)
2080s | 9 | 87 | 64.3°F | -- | --
(2070-2099)
Note: Due to HVAC system typical useful life of around 25 years, only design criteria projections for the 2050s are shown. Projections for the 2020s are not shown because it is anticipated that enough of a safety margin is employed already in current systems to withstand the temperature rise expected through the 2020s. The NPCC is developing projections of 1% Wet Bulb temperatures, which are expected to increase. This design criteria will be added in a later version of the Guidelines.
PRECIPITATION
DEP Stormwater Management Practice Hierarchy for Separate Sewer Areas | [5 empty] | DEP Stormwater Management Practice Hierarchy for Combined Sewer Areas
SEA LEVEL RISE
Sea level rise-adjusted (SLRA) design flood elevation (DFE)
Critical* Facilities
End of Useful Life | Base Flood Elevation (BFE)56 in NAVD 88 | + Freeboard57 | + Sea Level Rise Adjustment58 | = Design Flood Elevation (DFE) in NAVD 88
2020s | FEMA 1% (PFIRM) | 24” | 6” | = FEMA 1% + 30”
(through to 2039)
2050s | FEMA 1% (PFIRM) | 24” | 16” | = FEMA 1% + 40”
(2040-2069)
2080s | FEMA 1% (PFIRM) | 24” | 28” | = FEMA 1% + 52”
(2070-2099)
2100+ | FEMA 1% (PFIRM) | 24” | 36” | = FEMA 1% + 60”
Non-critical Facilities
2020s | FEMA 1% (PFIRM) | 12” | 6” | = FEMA 1% + 18”
(through to 2039)
2050s | FEMA 1% (PFIRM) | 12” | 16” | = FEMA 1% + 28”
(2040-2069)
2080s | FEMA 1% (PFIRM) | 12” | 28” | = FEMA 1% + 40”
(2070-2099)
2100+ | FEMA 1% (PFIRM) | 12” | 36” | = FEMA 1% + 48”
Additional analysis should be conducted to incorporate wave action and wave run-up in DFE calculations especially in areas that are located within the FEMA’s 1% annual chance Limit of Moderate Wave Action (LiMWA) zone. Wave run-up is the maximum vertical extent of wave uprush above surge.

## Appendix - Design Strategies
Design Strategies List
This table presents a non-comprehensive list of design strategies to address climate change hazards, as described throughout the Guidelines.
Design Strategies Checklist (not exhaustive)
Extreme Heat |  | Extreme Precipitation |  | Sea Level Rise & Storm Surge
| Mechanical Cooling System |  | Select High Elevation Site |  | Select High Elevation Site
| Minimize East-West Building Orientation |  | Select Higher Elevation within Existing Site |  | Select Higher Elevation within Existing Site
| Passive Solar Cooling and Ventilation Systems |  | Green Roof |  | Raise Building Floor Elevation
| Cool Roof (SRI appropriate) |  | Protect Below Grade Areas from Flooding |  | Waterproof Building Envelope
| Green Roof (extensive) |  | On-site Stormwater Management (gray) |  | Elevate Critical Building Functions
| Vegetated Structures (planters, walls) |  | Reduce Impervious Areas |  | Elevate Critical Equipment
| Enhanced HVAC System, including space layout optimization, system scalability, and improved controls |  | Permeable Pavement |  | Perimeter Floodwall/ Levee (passive or active)
| More Efficient Building Envelope |  | Increase Green Spaces and Planted Areas |  | Dry/Wet Floodproofing
| Shade Structures |  | Tree Planting/Preservation |  | Utility Redundancy Design
| Structures Covered by Energy Generation Systems |  | Bioswale |  | Resilient Materials & Landscape Treatments
| Light Colored Pavements (appropriate SRI) |  | Rainwater Reuse Cisterns |  | Design for Storm Surge Outflow
| Increase Planted Areas |  | Stormwater Planter |  | Install Backwater Flow Prevention
| Permeable Surfaces and Open-grid Pavement |  | Grass Filter Strip |  | Design for Scour
| Bioswales |  | Constructed Wetland |  | Raise Road Elevation
| Daylighting |  | Selection of Salt/Flood Tolerant Plantings |  | Flexible Adaptation Pathway
| Window shading |  | Selection of Native Plantings |  | Constructed Wetland
| Operable windows |  | Preservation of Natural Vegetation |  | Preservation of Natural Wetland
| Waste Heat Recovery |  | Other: |  | Other:
Solar + Storage
Trees and Shrubs
Preservation of Natural Vegetation
Other:

## Appendix - Timeline Example
PROJECT TIMELINE - EXAMPLE
Resiliency actions and associated reporting incorporated into an example project timeline. Reporting requirements are submitted to ResilientDesign@cityhall.nyc.gov.
Resilient design is most effective when incorporated as early as possible. The exposure screening during scoping/planning should inform the project funding request and procurement.
Projects that are Public Private Partnerships shall complete the scoping/planning section during financing/procurement.
Project Phase | Resiliency Action | Description | Reporting
Scoping/Planning | Incorporate resiliency considerations into project scope development/early planning. | Collect information on type of project, useful life, criticality, operational goals, expected location, and estimated cost for use in exposure screening and risk assessment. | Resilient Design Submittal Checklist - Planning and Schematic Phase Submission (blue sections)
| Screen the project for climate change related hazards using the Exposure Screening Tool | Assess exposure to changing climate conditions. | Resilient Design Submittal Checklist Appendix - Exposure Screening
Preliminary Design | Integrate resilient design strategies | Use the Climate Resiliency Design Guidelines to design project to withstand climate change projections for heat, precipitation, and sea level rise. | Resilient Design Submittal Checklist - Preliminary Design Phase Submission (green sections)
| Assess risk | For projects with total costs greater than $50 million, assess likelihood and consequence of climate change hazards to the project. | Risk Assessment
| Analyze costs and benefits | Conduct analysis of the benefit/cost implications of the project as necessary. Use the qualitative assessment for projects below $50 million and the in-depth assessment for larger projects. | BCA Analysis
Final Design | Finalize resilient design strategies | Evaluate results to determine incorporation of resiliency strategies in final design. | Resilient Design Submittal Checklist - Final Design Phase Submission (purple sections)

## Background (hidden)
CHECKLIST
Submission Phase | Type of Project | Extent of Construction | Borough | Criticality | Magnitude | Useful Life | CSO vs MS4 | Floodplain | Mechanical Cooling | Exposure Screening | Risk Mitigation | HVI Score | Cost
Scoping/Planning | Building | New Construction | Brooklyn | Critical | Non-major project (total cost under $50M) | Present to 2039 | CSO | Yes | Yes | Yes | Yes | 1 | Increase
Preliminary Design | Infrastructure | Substantial Improvement | Bronx | Non-critical | Major project (total cost $50M or more) | 2040 to 2069 | MS4 | No | No | No | No | 2 | Decrease
Final Design | Landscape/Park/Site Improvement |  | Manhattan |  |  | 2070 to 2099 |  |  | N/A |  | N/A | 3 | No Change
| Other (please specify) |  | Queens |  |  | 2100 and beyond |  |  |  |  | TBD | 4 | N/A
|  |  | Staten Island | [7 empty] | Not Feasible | 5 | TBD
EXPOSURE SCREENING TOOL
Heat 1 | Heat 2 | Heat 3 | Precip 1 | Precip 2 | Precip 3 | SLR 1 | SLR 2 | SLR 3 | SLR 4
Yes = 1 | Low = 1 | 2 days = 1 | Yes = 1 | Yes = 2 | Yes = 1 | Yes = 1 | Yes = 2 | Yes = 1 | Yes = 1
No = 0 | Low-Moderate = 2 | 4 days = 2 | No = 0 | No = 0 | No = 0 | No = 0 | No = 0 | No = 0 | No = 0
| Moderate = 3 | 7 days = 3
| Moderate-High = 4 | 9 days = 4
High = 5
DESIGN STRATEGIES
Extreme Heat | Extreme Precipitation | Sea Level Rise & Storm Surge
Mechanical Cooling System | Select High Elevation Site | Select High Elevation Site
Minimize East-West Building Orientation | Select Higher Elevation within Existing Site | Select Higher Elevation within Existing Site
Passive Solar Cooling and Ventilation Systems | Green Roof | Raise Building Floor Elevation
Cool Roof (SRI appropriate) | Protect Below Grade Areas from Flooding | Waterproof Building Envelope
Green Roof (extensive) | On-site Stormwater Management (gray) | Elevate Critical Building Functions
Vegetated Structures (planters, walls) | Reduce Impervious Areas | Elevate Critical Equipment
Enhanced HVAC System, including space layout optimization, system scalability, and improved controls | Permeable Pavement | Perimeter Floodwall/ Levee (passive or active)
More Efficient Building Envelope | Increase Green Spaces and Planted Areas | Dry/Wet Floodproofing
Shade Structures | Tree Planting/Preservation | Utility Redundancy Design
Structures Covered by Energy Generation Systems | Bioswale | Resilient Materials & Landscape Treatments
Light Colored Pavements (appropriate SRI) | Rainwater Reuse Cisterns | Design for Storm Surge Outflow
Increase Planted Areas | Stormwater Planter | Install Backwater Flow Prevention
Permeable Surfaces and Open-grid Pavement | Grass Filter Strip | Design for Scour
Bioswales | Constructed Wetland | Raise Road Elevation
Daylighting | Selection of Salt/Flood Tolerant Plantings | Flexible Adaptation Pathway
Window shading | Selection of Native Plantings | Constructed Wetland
Operable windows | Preservation of Natural Vegetation | Preservation of Natural Wetland
Waste Heat Recovery | Other | Other
Solar + Storage
Trees and Shrubs
Preservation of Natural Vegetation
Other
Background Data - DO NOT EDIT