Operations & Maintenance Manual for Building Name

Instructions:

- Refer to the project’s selected Criteria checklist and compliance pathways and include clear O&M instructions for all pursued measures. Pay particular attention to Criteria with ongoing operational requirements:

  - Integrative Design 1.5, 1.6, 1.7

  - Amenities, common spaces, and programming 2.5, 2.6, 2.7, 2.8, 2.9, 3.5, 3.6, 5.8, 7.4, 7.15, 7.16, 7.17, 7.18

  - Resource conservation and resiliency 3.2, 4.3, 4.4, 5.1, 5.5, 5.6, 5.7, 6.2, 6.5, 7.8

- Decide whether to use this template OR create your own Manual and document how it meets Criterion 8.1 using the O&M Coversheet.

- Edit any part of this template to fit your project.

- Customize all highlighted text throughout the document and treat text in tables as examples only; add, delete, or edit items as appropriate to this building.

- Delete all instructions in red text.

Recommendations:

- Consider including sections marked as ‘Optional’ if they would benefit the operations and maintenance team, even though they are not required under Criterion 8.1.

- Add a photo of building on this cover sheet, along with any helpful photos throughout the manual.

- Apply your own branding to create a consistent look and feel.

- Enable easy navigation in the final versions of the manual:

  - For digital versions (pdf), add hyperlinks to the Appendices and other relevant sections.

  - For printed versions, add tabs labeling sections, including Appendices.

# Table of Contents

Table of Contents	2

Introduction	5

Using This Manual	5

Purpose	5

Roles & Responsibilities	5

Staff Training, Communication, and Compliance	6

Staff Training	6

Tracking Tasks and Issues	6

Resident Training and Communications	7

Compliance	8

Green Features of This Building	9

Certification Standards	11

Goals and Current Facilities Requirements	11

Goals	12

Current Facilities Requirements	12

Resilience and Response	13

Emergency Management Manual	14

Backup Power Startup and Shutdown Procedures	14

Managing Performance	15

Monitoring and Benchmarking (The Baseline)	15

Zero-Over-Time (ZOT)	16

Building Systems	16

Emergency Shutoffs	16

Preventive Maintenance	17

Equipment Replacement and Procurement Guidance	17

Heating, Cooling, and Hot Water Equipment	17

Ventilation and Exhaust Systems	19

Renewables, Storage and Specialized Energy Systems	20

Emergency Response and Resilience Systems	21

Plumbing Systems	23

Lighting and Appliances	24

Finish Systems	25

Amenities and Community Spaces	26

Building Access & Security	28

Site and Landscaping	29

Green and Healthy Housekeeping	32

Health and Safety Features	32

Green Cleaning Products, Procedures, and Schedules	33

Integrated Pest Management (IPM)	34

Waste Management	35

Waste Management Resources	35

Turnover, Replacement and Renovations	37

Unit Turnover	37

Green Procurement Guidelines During Construction	37

Waste Reduction During Construction	38

Indoor Air Quality During Turnover or Renovations	38

Appendix: Resources and References	39

Appendix: Logins	41

Appendix: Vendors and Service Providers	42

Current Vendors	42

Service Schedule	43

Appendix: Training Staff and Residents	46

Building Staff Training Schedule	46

Resident Orientation Agenda	47

Orientation Attendees Sign-In Sheet	49

Appendix: Approved Cleaning Products	50

Appendix: Cleaning Schedule	52

Appendix: Integrated Pest Management (IPM)	55

Engaging an IPM Vendor	55

Sample IPM Plan	55

Appendix: Smoke-Free Policy	58

Appendix: Water Quality Management Program	59

Appendix: Turnover Checklist	60

Appendix: Hazardous Waste Disposal Guidelines	62

Appendix: Tips for Common HVAC Issues	63

Appendix: Green Certification Details	64

Appendix: Project Priorities Survey	65

Appendix: Health Action Plan	66

# Introduction

## Using This Manual

This Operations & Maintenance (O&M) Manual provides clear guidance for operating and maintaining the building’s systems and green features. It is intended for property management, maintenance staff, ownership, and any contractors involved in day‑to‑day operations.

Use this manual alongside manufacturer documentation, as‑built drawings, and warranty information to ensure the building continues to operate safely, efficiently, and as designed. Maintain both a printed copy in a central management location and a digital copy accessible to relevant staff.

Update this manual as systems, equipment, or operational practices change to preserve institutional knowledge and ensure continuity during staff or ownership transitions.

## Purpose

The purpose of this O&M Manual is to support the long-term, safe, and efficient operation of the building. Specifically, this manual aims to:

Preserve the performance of energy-, water-, and health-focused systems

Protect the health, comfort, and safety of residents and staff

Reduce operating costs through preventive maintenance and informed operations

Support compliance with Green Communities and other applicable requirements

Maintain continuity of operational knowledge during staff or ownership transitions

# Roles & Responsibilities

The successful operation of this building requires coordination between property management, maintenance staff, ownership, and outside service providers. Property management is responsible for maintaining this table with current contacts.

| Role | Contact Information | Responsibilities |
| --- | --- | --- |
| Property Manager | Name Org Phone Email | Overall oversight of building operations; ensures compliance with O&M policies; coordinates staff training; manages vendors and documentation; monitors energy and water performance. |
| Facility Manager | Name Org Phone Email | Oversees preventive maintenance; operates and maintains building systems; monitors energy and water usage. |
| Resident Coordinator | Name Org Phone Email | Communicates green building policies to residents; supports resident engagement and reporting of maintenance issues. |
| Owner / Owner’s Representative | Name Org Phone Email | Provides oversight and approvals; ensures long-term operational goals and compliance with certification requirements. |
| Emergency Manager | Name Org Phone Email | Oversees all aspects of emergency response; see the Emergency Response Manual. |
| [Add others] |  |  |
| See Appendix: Vendors and Service Providers for more contacts and schedules. |  |  |

# Staff Training, Communication, and Compliance

Good communication between building staff, management, and residents is essential for effective operations.

## Staff Training

Provide initial and ongoing training on building systems, green features, and operational policies during onboarding, staff transitions, and after system upgrades. Cross‑train staff where possible to minimize disruption from turnover and maintain continuity of operations. See Appendix: Training Staff and Residents for a detailed training schedule.

## Tracking Tasks and Issues

Document all work orders, preventive maintenance activities, and issues using the established tracking system. Assign responsibilities clearly, follow escalation procedures, and ensure tasks are completed within defined timeframes. Maintain accessible records so staff can reference prior issues and resolutions.

### Process

[Answer the questions in the table below to create a tracking and resolution process]

| Issue | Process for Communicating, Resolving, and Documenting |
| --- | --- |
| Work Orders | Who issues the work order, and to whom? How is the work order issued – app, email, paper ticket? What is the expected timeframe for turnaround? |
| Preventative Maintenance Routines | Who is responsible for assigning and performing regular preventative maintenance? Who should communicate before, during, and after performing these routines? How is this work documented? |
| Problem Tracking and Escalation | When issues arise, who should be notified, and how? Who should document issues, and how? Where can staff find documentation of previous issues? |
| Resident Complaints | Who is responsible for training residents? How are resident complaints documented? When and how should complaints be shared to management? |
| [Add others] |  |

## Resident Training and Communications

Provide residents with clear, consistent information on how to live safely and efficiently in a green building.

At move‑in, distribute the Resident Manual and conduct an orientation covering energy and water use, ventilation, healthy living practices, and how to report maintenance issues. See Appendix: Training Staff and Residents for an agenda and sign-in sheet.

Reinforce key messages periodically through newsletters, notices, and the resident portal. Ensure communication tools are current, accessible, and used consistently. Document resident complaints and questions, respond promptly, and escalate issues to management as needed.

### Communication Tools

The following tools are used to communicate with building residents:

| Tool | Details |
| --- | --- |
| Community Portal | Name & how to access |
| Notice Boards & Flyers | Physical communications posted at elevator lobbies on each floor and the mail room. |
| Monthly Newsletters | Print / electronically distributed monthly highlighting energy-saving tips, maintenance schedules, and green initiatives along with events and reminders. |
| Instructional tools (e.g., QR codes, videos, magnets, etc.) | Provide tool name, where to find it, how to distribute it, and other key information. |
| [Add others] |  |

## Compliance

Building compliance is maintained through regular internal and external inspections. Maintenance staff must be available during all inspections, ensuring access to all building areas and responding to any concerns raised.

### Expected Compliance and Inspections

| Compliance Item / Inspection | Agency | Schedule / Frequency |
| --- | --- | --- |
| Local Building Inspection | Local Buildings Department | Triennial, due to comply 2020 |
| Housing Agency Inspection | XX Housing Agency | Annual; late Spring |
| Internal Asset Manager Walkthrough | Regional Asset Management Office | Semiannual; every January and June |
| [Add others] |  |  |

# Green Features of This Building

[Optional recommended section]

While this building may not look unusual, it was designed and inspected to protect humans and the environment. Goals of a green building are comfort, healthy indoor air quality, energy efficiency, water efficiency, and durability.

Green features of this building include: [Update to include only your specific features]

| Topic | Features |
| --- | --- |
| Location + Neighborhood Fabric | Connections to existing development and infrastructure Proximity to services and community resources Access to open space Access to transit, increased bikeability and/or walkability Access to fresh, local foods Community space and programs Access to broadband |
| Site Design | Ecosystem protection Dark sky lighting with appropriate controls Stormwater management Native or climate-appropriate plantings Efficient irrigation systems Traffic safety and mobility features Heat island management Resilience against high winds, floods, and wildfires |
| Water | Water conserving fixtures Water quality protections Leak detection Water consumption monitoring Efficient plumbing layout and design Demand-initiated recirculation systems Rainwater or greywater capture and reuse Access to potable water during emergencies |
| Energy | Plan for Zero Emissions Over Time Whole-building energy efficiency, including energy modeling, performance testing, and commissioning Certification under ENERGY STAR / Efficient New Homes / Passive House [Choose as appropriate] Right-sized HVAC equipment All-electric / electric-ready heating, cooling, hot water, and cooking Peak demand control Backup power Renewable energy Electric vehicle charging Passive survivability features to limit temperature swings |
| Materials | Lower embodied carbon materials Healthier building materials Reduced building materials and waste Advanced material selection Recycling storage |
| Healthy Living Environment | Radon testing and mitigation Combustion safety Garage isolation Smoke-free policy Active ventilation system to provide fresh air and remove humidity and pollutants High efficacy air filters Moisture management systems and assemblies Integrated pest management Noise abatement Personal and social safety features Social connection and accessibility Access to nature and biophilic design Healing-centered and culturally responsive design Active design features |

## Certification Standards

In addition to the features listed above, the building is also certified according to third party standards for energy and sustainability.

### Green Communities

Enterprise sets the national standard for sustainable, healthy affordable housing with Green Communities. Certification requires compliance with eight key categories, from integrative design to operations and maintenance. Buildings certified under these standards demonstrate commitment to environmental stewardship and resident well-being. For more details, visit Green Communities.

### ENERGY STAR Homes or Multifamily New Construction

ENERGY STAR certification indicates that the building is an estimated 15% more energy-efficient than typical new constructions, reducing utility costs and environmental footprint. Regular maintenance of energy-efficient systems ensures ongoing savings. Learn more at ENERGY STAR.

### Passive House

Passive House is an energy-efficient building standard focusing on airtight construction, superior insulation, and energy recovery ventilation. This building is nearly twice as efficient as standard buildings, maintaining comfortable indoor temperatures year-round with minimal energy use.

There are 3 standards:

Passive House Institute or PHI, is the international standard for new construction.

Phius Core is the U.S.-based standard for new construction.

EnerPHit is the international standard for major renovations.

This project follows [insert PH standard here].

# Goals and Current Facilities Requirements

[Optional recommended section]

This section describes the operational goals of the property, facilities, and systems currently in place to support those goals. Together, these should guide day-to-day operations, maintenance planning, and decision-making to ensure long-term building performance and resident well-being, consistent with Green Communities certification.

## Goals

During design, an integrated team reviewed project priorities, which have been translated into operational and maintenance goals to protect resident health, reduce operating costs, and ensure ongoing compliance with Green Communities. For more details, see Appendix: Project Priorities Survey.

| O+M Topic | Goal |
| --- | --- |
| Energy | Minimize energy use while keeping spaces safe and comfortable. |
| Water | Minimize water use while ensuring healthy potable water quality. |
| Indoor air quality | Provide healthy indoor air for residents and staff. |
| Mobility and safety | Ensure residents can move safely throughout the property. |
| Ecosystem | Integrate with the surrounding ecosystem. |
| Resilience | Respond to climate and other events with minimal disruption. |
| Operating costs | Reduce long-term costs through preventative maintenance. |
| Chemicals | Limit the use of harmful chemicals and materials. |
| Comfort | Maintain temperatures between 68-78°F (heating to cooling range) for resident comfort. |
| Humidity | Achieve relative humidity between 30-50% for healthy conditions. |
| Performance | Track utility data and other conditions to ensure the building is performing as intended. |
| [Add others] |  |

## Current Facilities Requirements

To meet these goals, the building has the following requirements:

| Function | Requirements |
| --- | --- |
| Operation | The building operates 24 hours a day, 7 days a week. Heating, cooling, ventilation, & hot water are always available. Residents control their own in-unit systems, where provided. Exterior lights are controlled by timers or light sensors. |
| Heating, Cooling, and Hot Water | The building uses high efficiency systems. Equipment is operated and maintained following manufacturer instructions. |
| Healthy Living Environment | Mechanical ventilation supplies fresh air and removes stale air. Filters are installed and changed to maintain air quality. Low-emitting products are used for all maintenance, repairs, and renovations. The building follows health-related management plans. See relevant sections and appendices for details. The building’s non-smoking policies are enforced. Drinking water is safe and available to all residents. Operable windows are maintained and views / daylight are preserved. |
| Energy Use | Systems are operated to meet the building’s energy performance targets, entered here or in Goals Utility use is reviewed regularly to catch problems early. |
| Water Use | Systems are operated to meet the building’s water consumption targets, entered here or in Goals Utility use is reviewed regularly to catch problems early. |
| Resilience | Flood protection systems are maintained regularly. Wind protection systems are maintained regularly. Wildfire prevention measures are implemented seasonally. |
| [Add others] |  |

If new equipment or controls are added, operating and maintenance practices are updated to keep the building running safely and efficiently.

# Resilience and Response

The building is designed to support safe operation during emergencies and extreme conditions. [Consider adding the Climate Hazards and Risk Assessment portion of Criterion 1.1 Project Priorities Survey here or in an Appendix. If the project pursued optional Criterion 1.5 Adaptive Planning for Resilient Communities, incorporate details in this section and Building Systems: Emergency Response and Resilience below]

## Emergency Management Manual

An Emergency Management Manual was created to outline response procedures and must be followed during all incidents. The manual addresses these topics:

Communication plans to use in the event of an emergency

Contact information for management, utilities, insurance, vendors, and more

Building shutdown and reopen procedures

Information on emergency support systems including backup power

Ensure the Emergency Management Manual is up-to-date and that all staff are familiar with the response procedures and emergency resources.

Store both physical and electronic copies of emergency documentation in [insert location] and review procedures regularly to confirm readiness.

## Backup Power Startup and Shutdown Procedures

[If the project has backup power systems such as those in optional Criterion 5.6 Backup Power, insert the Backup Power Startup and Shutdown Procedures from the Emergency Management Manual; a sample procedure is included below]

### Startup During Outage

Confirm utility outage and safe operating conditions.

Start backup system manually or verify automatic transfer.

Check that critical systems are powered (emergency lighting, fire alarms, water, elevators, HVAC).

Monitor system periodically for alarms or abnormal conditions.

### Shutdown when utility power returns

Confirm utility power is stable.

Transfer loads back to utility power.

Allow generator to cool per manufacturer instructions.

Shut down backup system, inspect for issues, and document operating hours and maintenance needs.

Adaptive Planning for Resilient Communities

# Managing Performance

## Monitoring and Benchmarking (The Baseline)

Diligent monitoring provides valuable insights about building conditions and helps identify potential issues before they occur.

Track energy and water utility bills and sub-meter data monthly to identify spikes or abnormalities. Investigate and resolve anomalies immediately.

Use ENERGY STAR Portfolio Manager to benchmark or compare your building’s performance against similar properties. Review this data quarterly to identify long-term trends.

Share performance data with staff and stakeholders to build accountability and highlight areas needing corrective action.

### Monitoring System Details

See Appendix: Logins for usernames and passwords for these and other important building-related accounts and tools.

| Monitor | How to Access | Key Metrics | Notes on Use |
| --- | --- | --- | --- |
| Lobby thermostat | Key in Facility Manager’s office | 65 - 78°F | Always lock cover after access. Record daily temp in logbook. |
| Water leak detection | Wireless communication loggers located on each riser in boiler room. | Should be lowest in middle of the night. | Set up phone alert capabilities. |
| ENERGY STAR Portfolio Manager | Website (see Appendix: Logins) | Watch for unusual or non-seasonal changes | Required by Criterion 8.5. |
| EV Charger Network Management Platform | E.g., EV Connect or ChargeLab |  |  |
| Irrigation controller |  |  |  |
| [Add others] |  |  |  |

## Zero-Over-Time (ZOT)

Zero-Over-Time (ZOT) is a long-term strategy to reduce energy use, lower emissions, and transition the building to clean energy sources. [If this project pursued Criterion 5.1 Energy Planning, insert the ZOT plan here or in the Appendix]. To achieve ZOT, follow these guidelines:

Operate building systems efficiently by following preventive maintenance schedules and optimizing controls

Monitor energy and water performance regularly to identify inefficiencies and address issues early

Reduce unnecessary energy use through staff training, resident engagement, and operational adjustments

Plan capital improvements to replace end-of-life equipment with high-efficiency or electric alternatives

Evaluate opportunities for on-site renewables, energy storage, and green power procurement

Participate in demand response or load management programs where feasible

# Building Systems

## Emergency Shutoffs

During emergencies or repairs, building staff must operate the shut-off valves or switches listed below. Any staff member unfamiliar with location or operation must contact a supervisor for training.

| Shutoff Type | Location |
| --- | --- |
| Main Water Shutoff | E.g., Cellar water meter room – blue valve |
| DHW Shutoff |  |
| Main Electrical Disconnect |  |
| Main Gas Shutoff |  |
| Sprinkler System |  |
| [Add others] |  |

## Preventive Maintenance

Preventive maintenance means regularly checking and servicing building systems before something breaks. This approach helps extend the life of equipment, maintain safe and clean conditions, reduce emergency repairs, and lower operating costs.

Preventive maintenance activities occur on a regular schedule, including:

Daily / Weekly: Perform walkthroughs, remove trash, and complete safety checks

Monthly: Inspect filters, check for leaks, and verify lighting control operation

Seasonally: Prepare heating and cooling systems for seasonal transitions

Annually: Perform detailed equipment inspections and schedule service calls

Detailed system-specific maintenance tasks and schedules are included in this manual.

## Equipment Replacement and Procurement Guidance

When equipment or fixtures need to be replaced, do all of the following:

Meet or exceed the efficiency of the original equipment.

Install ENERGY STAR® or WaterSense® certified products, where applicable.

Follow the project’s Green Procurement Guidelines located in Turnover, Replacement and Renovations.

## Heating, Cooling, and Hot Water Equipment

| Type & Location | System Installed |
| --- | --- |
| In-Unit Heat/Cool | Type, Make & Model |
| Common Heat/Cool | VRF, Brand, Model XYZ1234 |
| Thermostats |  |
| Energy Management System |  |
| DHW* |  |
| Dehumidification System |  |
| [Add others] |  |
| If this building has a central DHW system, a cooling tower, or is 10 stories or taller, follow the Legionella prevention measures in Appendix: Water Quality Management Program. |  |

| Heating, Cooling and Hot Water Systems Maintenance Checklist | Winter | Spring | Summer | Fall |
| --- | --- | --- | --- | --- |
| Replace air filters using the specified MERV rating. | x | x | x | x |
| Vacuum vents and grilles and clear any blockages. |  | x |  | x |
| Clear debris and dirt from outdoor condensers using low-pressure water only (to avoid bending fins). |  | x |  | x |
| Remove snow and ice from around outdoor condensers units. | x |  |  |  |
| Schedule pre-season tune-up with a licensed HVAC contractor. |  | x |  | x |
| Adjust thermostats seasonally (68°F heating, 78°F cooling). | x | x | x | x |
| Verify domestic hot water temperature is set to 120°F. |  | x |  | x |
| Flush water heater tanks to remove sediment. |  | x |  | x |
| Test temperature and pressure relief valves. |  | x |  |  |
| Maintain at least 2 feet of clearance around boilers, pumps, etc. | x | x | x | x |
| Follow the measures in Appendix: Water Quality Management Program to prevent Legionella and other water quality concerns. | x | x | x | x |
| [Add others] |  |  |  |  |

### Refrigerant Management Tips

Proper refrigerant management is crucial for energy efficiency and minimizing environmental impact.

Ensure that refrigerant systems in refrigerators and heat pumps are installed and maintained by certified technicians.

Always check that refrigerant levels are properly calibrated, considering temperature fluctuations. Overcharged or undercharged systems lead to inefficiency and long-term damage.

Request and save proof of proper refrigerant charge after work is done.

Dispose of used refrigerants according to local waste regulations to prevent harmful emissions.

## Ventilation and Exhaust Systems

This building includes systems to supply fresh air and exhaust stale air, according to ASHRAE standards 62.2 and 62.1. Ventilation system operation is critical to running a high-performance green building and supporting healthy indoor air quality. Flow rates were verified by a Testing, Adjusting and Balancing (TAB) contractor prior to occupancy.

| Type & Location | System Installed |
| --- | --- |
| In-Unit kitchen exhaust | Type, Make & Model |
| In-Unit bathroom exhaust | E.g., Central rooftop fan, Brand, Model XYZ1234 |
| Fresh air to units | E.g., ERV, Brand, Model XYZ1234 |
| Laundry exhaust |  |
| Garage exhaust |  |
| Filters, in-unit | MERV Rating: |
| Filters, common | MERV Rating: |
| [Add others] |  |

| Ventilation and Exhaust Systems Maintenance Checklist | Winter | Spring | Summer | Fall |
| --- | --- | --- | --- | --- |
| Confirm all central ventilation and exhaust fans are operating. | x | x | x | x |
| Replace air filters using the specified MERV rating. | x | x | x | x |
| Inspect outdoor intakes, vents, screens, and grilles and remove obstructions. |  | x |  | x |
| Clean indoor vents and grilles by vacuuming or washing as needed. |  |  |  |  |
| Wash grease filters in kitchen hoods. |  | x |  | x |
| Rotate fan wheels by hand to check for rubbing, noise, or imbalance. |  |  |  | x |
| Inspect and clean ERV cores per manufacturer instructions. |  | x |  |  |
| Clean coils on central ventilation equipment twice per year. |  | x |  | x |
| Clear condensate drain lines serving ventilation equipment. |  | x |  |  |
| Verify backdraft dampers open and close freely. |  | x |  |  |
| Inspect fan belts and lubricate bearings on rooftop exhaust fans. |  | x |  | x |
| Perform service checks, including belt condition, sensor function, controls, and software updates. |  | x |  |  |
| [Add others] |  |  |  |  |

### Filtration Management Tips

Outside air, particularly in urban areas, can contain pollutants like fine particulates from diesel trucks, which contribute to asthma. Therefore, filtering incoming air is essential.

Use filters rated MERV 13 or higher to capture harmful particulates as small as 2.5 microns (the size health experts worry about).

Stay within the equipment’s capabilities, as higher MERV ratings reduce airflow.

Extend life of filters by choosing thicker models, which typically last longer than thinner ones of the same MERV rating.

Ensure filters fit snugly in their housing to prevent air bypassing.

Check and replace filters at least every 3 months, or sooner if needed.

Keep a record of filter changes to track maintenance schedules.

## Renewables, Storage and Specialized Energy Systems

| Type & Location |  | System Installed |
| --- | --- | --- |
| Solar panels | Make, model, quantity, kW |  |
| Inverters | Make, model, quantity, kW |  |
| Battery Storage | Make, model, quantity |  |
| Emergency Shutoffs | Include location |  |
| [Add others] |  |  |

| Renewables, Storage and Specialized Energy Maintenance Checklist | Winter | Spring | Summer | Fall |
| --- | --- | --- | --- | --- |
| Inspect solar panels for dirt, debris, or shading that could impact performance. Clean panels if necessary. |  | x |  |  |
| Inspect solar panels for fallen leaves or debris buildup. Clean panels to maintain efficiency during the winter. |  |  |  | x |
| Remove snow accumulation from solar panels. | x |  |  |  |
| Check inverter for proper ventilation and cooling around the unit, cleaning as needed to prevent overheating. | x | x | x | x |
| Monitor renewable energy output year-round to ensure efficiency. | x | x | x | x |
| Check battery voltage and health for storage systems. |  | x |  |  |
| [Add others] |  |  |  |  |

## Emergency Response and Resilience Systems

Systems are listed below. For detailed emergency response procedures, see the Emergency Management Manual.

| Type & Location | System Installed |
| --- | --- |
| Emergency Generator – Location | Describe fuel type generator, make, model, rated kW. Serves life-safety systems, emergency lighting, fire alarm, elevators, domestic water booster pumps, heating systems, communications, and other designated emergency loads. |
| Battery Energy Storage System (BESS) – Location | Battery backup system, make, model, rated kWh. Provides emergency power to designated critical loads during utility outages. |
| Portable Generator Connection – Location | Manual transfer switch and generator connection point for temporary emergency generator deployment. Serves designated emergency circuits only. |
| Solar PV + Battery Backup – Location | Solar photovoltaic array with battery storage capable of supporting designated critical loads during utility outages. |
| Flood mitigation | Provide details of flood barriers, sump pumps, etc. |
| Fire mitigation | Provide details of materials, suppressions systems, etc. |
| Earthquake mitigation | Provide details of specialty structural components. |
| Hurricane mitigation | Provide details of storm shutters, hurricane straps, etc. |
| Heat Island mitigation | Provide details of cool roofs, shading devices, etc. |
| [Add others] |  |

| Resilience Maintenance Checklist | Winter | Spring | Summer | Fall |
| --- | --- | --- | --- | --- |
| Inspect generator or battery system for damage, leaks, or corrosion. | x | x | x | x |
| Verify backup power system fluid, fuel, and battery levels. | x | x | x | x |
| Test backup power systems under load to confirm readiness for outages and capacity for critical loads. | x | x | x | x |
| Check automatic transfer switch and alarms. | x | x | x | x |
| Keep outdoor components of backup power systems free of debris, ice, and snow. | x | x | x | x |
| Inspect generator or battery system for damage, leaks, or corrosion. | x | x | x | x |
| Confirm emergency response kits are stocked and accessible. | x |  |  | x |
| Inspect sump pumps and clear debris from pits. |  | x |  |  |
| Check flood barriers, seals, and protection systems for damage. |  | x |  |  |
| Remove combustible vegetation and debris from around the building. |  |  | x | x |
| Inspect roofing and exterior assemblies for fire-resistant integrity. |  |  | x | x |
| Clean and test fire suppression systems. |  |  | x |  |
| Inspect storm shutters and impact-resistant windows for operation. |  |  |  |  |
| Inspect seismic bracing and structural connections for visible damage. |  |  |  | x |
| Clean reflective roof surfaces to maintain performance. |  | x |  |  |
| [Add others] |  |  |  |  |

## Plumbing Systems

| Type & Location | Fixture or System Installed |
| --- | --- |
| Lavatory faucets | 1.0 gpm |
| Showerheads | 1.5 gpm |
| Kitchen sinks | 1.5 gpm |
| Toilets | 1.28 gpf |
| Leak detection system | Model + link; see Appendix: Logins and add user info |
| Sprinkler system |  |
| Water filtration systems | Location, make, model, purpose |
| [Add others] |  |

| Plumbing Maintenance Checklist | Winter | Spring | Summer | Fall |
| --- | --- | --- | --- | --- |
| Monitor leak detections systems and respond promptly to alerts. | x | x | x | x |
| Inspect around fixtures for leaks, staining, or corrosion. | x | x | x | x |
| Verify faucet aerators are installed and free of debris. |  | x |  | x |
| Drain and shut off outdoor faucets and hose bibs before freezes. |  |  |  | x |
| Test water main shut-off valves to ensure operability. | x |  |  | x |
| Clean showerheads to remove mineral scale. |  | x |  |  |
| Inspect laundry rooms for damaged hoses and signs of moisture. |  | x |  | x |
| Test and clear floor drains by flushing with water. | x |  | x |  |
| Inspect sump pumps and remove debris from pits. |  | x |  | x |
| Monitor water consumption for unusual patterns or spikes. | x | x | x | x |
| Perform filtration system maintenance per manufacturer requirements. | x | x | x | x |
| [Add others] |  |  |  |  |

## Lighting and Appliances

| Type & Location | System Installed |
| --- | --- |
| Lighting - all | All LED and: ≥ 40 lumens/watt (lm/W) for fixtures ≤ 15 Watts ≥ 50 lm/W for fixtures > 15W and ≤ 40W ≥ 60 lm/W for fixtures > 40 Watts |
| Common areas & back-of-house spaces | Timed controls |
| Refrigerator | Make and model |
| Dishwasher | Make and model |
| Microwave | Make and model |
| Oven / Range | Make and model |
| Range hood | Make and model |
| Washer / Dryer | Make and models |
| [Add others] |  |

| Lighting & Appliances Maintenance Checklist | Winter | Spring | Summer | Fall |
| --- | --- | --- | --- | --- |
| Verify exterior lighting, controls and sensors operate correctly. | x | x | x | x |
| Verify all interior lighting, controls and sensors operate correctly. |  | x |  |  |
| Test smoke and CO alarms and replace batteries as required. |  | x |  | x |
| Vacuum refrigerator condenser coils annually. | x |  |  |  |
| Confirm refrigerator and freezer temperatures are set correctly. | x |  |  |  |
| Inspect dishwasher door gaskets for cracks and confirm latches close tightly to prevent leaks during peak use. | x |  |  |  |
| Run a dishwasher descaling or cleaning cycle with vinegar during winter to remove mineral buildup. | x |  |  |  |
| Remove and clean dishwasher bottom drain filters to prevent food buildup and odors. | x |  |  |  |
| Degrease and wash range hood filters; replace as needed | x |  |  |  |
| Check exterior range hood exhaust dampers to ensure they open freely and are clear of obstructions |  | x |  |  |
| Test range hood lighting and exhaust fan speeds for proper operation. | x |  |  |  |
| Test range or stove oven bake and broil elements for even heating and proper door gasket sealing. | x |  |  |  |
| Clean range or stove burner drip pans. | x |  |  |  |
| Verify range or stove anti-tip brackets are securely anchored to wall. |  |  |  |  |
| Inspect washing machines for level placement and secure footing. |  | x |  |  |
| Inspect washer hoses for bulges, cracks, or leaks and replace as needed. | x |  |  |  |
| Inspect dryer exhaust duct for crimps or obstructions and clean the full duct run. | x |  |  |  |
| [Add others] |  |  |  |  |

## Finish Systems

| Finish & Location | System Installed |
| --- | --- |
| In-unit flooring | Type, manufacturer, product, color |
| In-unit primers and paints | Type, manufacturer, product, color, location if needed |
| Lobby flooring | Type, manufacturer, product, color, location if needed |
| Corridor flooring | Type, manufacturer, product, color, location if needed |
| Amenity room flooring | Type, manufacturer, product, color, location if needed |
| Common area primers & paints | Type, manufacturer, product, color, location if needed |
| [Add others] |  |

| Finish Systems Maintenance Checklist | Winter | Spring | Summer | Fall |
| --- | --- | --- | --- | --- |
| Inspect interior walls and ceilings for new cracks or staining. | x |  |  | x |
| Repair and touch up peeling paint on exterior doors and trim. |  | x |  | x |
| Restore protective finishes on flooring per manufacturer recommendations. |  |  | x |  |
| Deep clean carpets to remove winter salt, mud, and bacteria. |  | x |  |  |
| Inspect and repair transition strips and loose flooring edges. |  | x |  | x |
| Refresh or re-seal wood decks and outdoor furniture. |  | x |  |  |
| Re-caulk joints around windows and doors to prevent air leaks. |  |  |  | x |
| Inspect common area baseboards and corner guards for damage. |  | x |  | x |
| [Add others] |  |  |  |  |

## Amenities and Community Spaces

[If the project pursued any of the optional Criteria below, add any spaces, programs, and features that require ongoing operations or maintenance attention to the Features Installed and the Maintenance Checklist tables below:

- 1.6 Design for Health and Well-Being: Health Action Plan

- 2.8 Community Space and Programs

- 7.15 Access to Nature and Biophilic Design

- 7.16 Healing-Centered and Culturally Responsive Design

- 7.17 Active Design: Promoting Physical Activity

- 7.18 Place-Based Wealth Building]

| Type & Location | Features Installed |
| --- | --- |
| Broadband access | Name and connection details |
| Fitness room | Location and description of features |
| Community room | Location and description of features |
| Outdoor recreation areas | Location and description of features [Add more lines as needed to address building amenities] |
| Vegetable garden | The building provides on-site food-growing space, water systems, and secure tool storage in accordance with Criterion 2.7 Option 3 for Access to Fresh Local Foods. Ensure these spaces are maintained as designed. |
| EV chargers | Location, make, model, quantity |
| [Add others] |  |

| Amenities Maintenance Checklist | Winter | Spring | Summer | Fall |
| --- | --- | --- | --- | --- |
| Inspect fitness equipment for wear, loose components, and damage. | x | x | x | x |
| Tighten bolts on benches, furnishings, and handrails. |  | x |  |  |
| Test automatic sensors (lighting, door open/closers) and adjust settings as needed. | x |  |  | x |
| Inspect flooring in high traffic areas and repair damage. |  |  | x |  |
| Inspect outdoor recreation equipment and address safety hazards. |  | x | x |  |
| Inspect outdoor furniture for rust or structural damage. |  | x | x |  |
| Inspect walkways for tripping hazards and loose pavers. |  | x |  |  |
| Check audiovisual equipment, wiring and mounts. |  |  |  | x |
| Test shared kitchen appliances for proper operation. |  | x |  | x |
| Test emergency exit push-bars and door latches. |  | x |  |  |
| Inspect EV charging equipment for physical damage and cable wear. | x | x | x | x |
| Verify EV chargers are online and receiving firmware updates. | x | x | x | x |
| [Add others] |  |  |  |  |

## Building Access & Security

| Type & Location | System Installed |
| --- | --- |
| Entry door | Location, make, model, OR description |
| Apartment doors | Location, make, model, OR description |
| Windows (units and common areas) | Operable windows with functioning locks, safety stops where required, and intact glazing |
| Sliding patio/balcony doors | Sliding doors with secure locking hardware, track stops, and intact glazing |
| Balcony / patio railings | Guardrails meeting height and spacing requirements; no loose or damaged components |
| Common area gathering spaces | Adequate lighting, clear sightlines, and controlled access where applicable |
| Exterior pedestrian pathways | Illuminated, unobstructed walking and rolling paths connecting entries, parking, and amenities |
| Parking areas and drive aisles | Clearly marked pedestrian routes, signage, and lighting |
| Pick-up / drop-off areas | Designated areas with signage, lighting, and accessible paths to building entries |
| Playgrounds and outdoor amenities | Secure fencing or barriers where adjacent to vehicular routes or external hazards |
| Windows (units and common areas) | Operable windows with functioning locks, safety stops where required, and intact glazing |
| Intercom | Location, make, model |
| Cameras | Location, make, model, quantity |
| Emergency exits | Panic bars |
| [Add others] |  |

| Access & Security Systems Maintenance Checklist | Winter | Spring | Summer | Fall |
| --- | --- | --- | --- | --- |
| Adjust entry door closers to latch securely without slamming. | x |  |  | x |
| Test all emergency exit push-bars and door latches. |  | x |  |  |
| Verify apartment entry doors close and latch properly. |  | x |  | x |
| Inspect sliding patios and balconies to confirm locks engage fully, sliding door tracks are clear, anti-fall or safety hardware is intact, and railings show no looseness, corrosion, or damage. |  | x |  |  |
| Confirm windows lock and required safety devices function properly. |  | x |  |  |
| Lubricate key cylinders and deadbolts with graphite spray. |  |  |  | x |
| Test intercom audio, camera, and remote buzz-in functions. |  | x |  | x |
| Verify controlled access systems operate properly at all locations (entries, common or gathering areas, elevators, back-of-house). | x | x | x | x |
| Audit access control software and remove inactive resident or vendor fobs, key cards, or codes. | x | x | x | x |
| Clean security camera lenses and verify camera angles. |  | x |  | x |
| Confirm security and emergency lighting operates correctly at entries, paths, and gathering areas. | x | x | x | x |
| Verify exterior lighting adequately illuminates pedestrian routes and building approaches. | x | x | x | x |
| Inspect signage at driveways, crossings, and loading areas indicating vehicles must yield to pedestrians. |  |  | x |  |
| Maintain clear sightlines at pedestrian–vehicle intersections by trimming landscaping and removing obstructions. |  |  | x |  |
| Inspect fencing, gates, and barriers separating play areas or walkways from vehicular routes. |  |  | x |  |
| [Add others] |  |  |  |  |

## Site and Landscaping

The site plays an important role in both the aesthetics and sustainability of the property. The site was designed to minimize irrigation through potable water, manage stormwater, minimize pests, protect dark skies, reduce heat island effect, promote local fauna, and eliminate reliance on chemicals.

| Feature | Site and Landscaping Details |
| --- | --- |
| Irrigation system, by zone | Location and description of each zone, with make and model of any controllers or other proprietary components [If the project pursued optional paths under Criterion 3.6 Outdoor Water Use: Efficient Irrigation, add applicable details here and in the maintenance checklist below] |
| Nonpotable water for irrigation | Location and description of rainwater, greywater, or related features, with make and model of any controllers or other proprietary components [If the project pursued optional Criterion 3.6 Outdoor Water Use: Alternative Sources, add applicable details here and in the maintenance checklist below] |
| Green or vegetated roof | Location and description |
| Bioretention features | Location and description |
| Reflective roof and pavers | Location and products installed |
| Dark sky lighting | Location and products installed |
| Plantings | General description of planting locations and types |
| On-site community garden | See Amenity Spaces. |
| Hardscapes | General description of locations and types |
| [Add others] |  |
| Planting Location | Species |
| E.g., 3rd Floor Terrace | E.g., prairie bluestem in planters |
| E.g., Rear yard | E.g., X, Y and Z |
| [Add others] |  |

| Site, Landscaping, & Outdoor Areas Maintenance Checklist | Winter | Spring | Summer | Fall |
| --- | --- | --- | --- | --- |
| Inspect plantings (including vegetated roofs) throughout the growing season; remove debris and dead foliage, assess plant health, and promptly pull weeds and tree seedlings. |  | x | x | x |
| Prune plantings according to local cooperative extension office guidance; for vegetated roofs, leave dried foliage in place over winter to protect plant crowns. | x | x |  | x |
| Use compost and mulch to maintain healthy soil without chemicals. |  | x | x | x |
| Apply slow-release granular fertilizer only if recommended by the planting supplier or local cooperative extension agency. |  | x |  |  |
| Replace dead plantings in-kind as needed. |  | x |  | x |
| Water plantings adequately during the first 12-18 months after installation and during drought or intense heat. |  | x | x | x |
| Avoid using heavy equipment (such as mowers) on or near bioretention features to prevent compaction. | x | x | x | x |
| Check that the irrigation system is not overwatering, especially during or immediately before/after rainfall. |  | x |  | x |
| Ensure spray and drip irrigation waters planted soil areas only. |  |  | x |  |
| Reprogram the irrigation system seasonally and as needed based on weather conditions. |  | x | x | x |
| Watch for persistent damp areas that may indicate irrigation leaks. |  | x | x |  |
| Winterize the irrigation and rainwater storage systems by thoroughly draining, drying, and shutting down. |  |  |  | x |
| Empty and clean rainwater and greywater storage tanks. |  |  |  | x |
| Inspect and clean roof and site drainage and infiltration systems twice per year and after major storms or nearby construction activity. |  | x |  | x |
| Monitor roofs and landscaped areas for standing water 24 and 48 hours after major rain events; address any persistent issues. | x | x | x | x |
| Maintain a vegetation-free zone (usually gravel or pavers) around perimeters, drains, and rooftop mechanical equipment; keep drains and overflow scuppers clear. | x | x | x | x |
| If a leak is suspected beneath a vegetated roof, perform an electric leak survey to pinpoint the exact location, make localized repairs, and restore system components and ground cover. | x | x | x | x |
| Trim trees regularly and prevent leaf buildup in drains or gutters. |  | x |  | x |
| Clean white or reflective roofs seasonally to maintain reflectivity and reduce cooling loads. |  | x |  | x |
| Verify that exterior fixtures and equipment are securely anchored to withstand high winds. | x | x |  | x |
| Confirm downspouts discharge at least 5 feet away from foundations and are properly sloped away from buildings. |  | x |  |  |
| Avoid deicers containing salt or chloride on sidewalks; use alternatives such as calcium magnesium acetate (CMA) to protect plants and animals. | x |  |  |  |
| [Add others] |  |  |  |  |

# Green and Healthy Housekeeping

Green and healthy housekeeping practices protect occupant health, reduce chemical exposure, and preserve building materials. These practices are part of the building’s commitment to long-term performance and sustainability.

## Health and Safety Features

[Optional recommended section]

The following features and practices support a healthy indoor environment. See Appendix: Health Action Plan for details on how the building supports resident health.

| Feature | Healthy Living Environment Details |
| --- | --- |
| Smoke & Carbon Monoxide Detectors | Maintain smoke/CO detectors in apartments and common areas per manufacturer requirements. |
| Smoke-Free Policy | Provide the Smoke-Free Policy to all new residents and enforce it consistently. See Appendix: Smoke-Free Policy. |
| Low-emitting materials | Use low-emitting flooring, paints/primers, sealants/adhesives, and composite wood. See Green Procurement Guidelines: Construction for standards. |
| Integrated pest management (IPM) | Follow the IPM approach to prevent and control pests while minimizing pesticide use (see IPM section; sample plan in Appendix). |
| Water quality | Maintain water quality by following plans in the appendices, where applicable. |
| Entry systems | Maintain permanent walk-off mats at the primary entry: clean weekly per manufacturer and inspect twice daily during inclement weather. |
| Active design features | Maintain clear stair-use signage, bicycle storage areas, and indoor and outdoor fitness and recreation areas. |
| Radon mitigation | The building includes radon-resistant construction. Re-test at least every 5 years; if results exceed 4 pCi/L, take additional mitigation action. |
| Access to nature and biophilic design | [If pursuing optional Criterion 7.15, describe features here] |
| Health Action Plan | [If pursuing optional Criterion 1.6, describe features here] |
| [Add others] |  |

## Green Cleaning Products, Procedures, and Schedules

Housekeeping staff and contractors must adhere to the following:

Use only cleaning products and methods that minimize toxicity, emissions, and environmental impact; see Appendix: Approved Cleaning Products for specific approved products.

When vetting new products, choose those that are non-toxic, low-Volatile Organic Compound (VOC), dye- and fragrance-free, and environmentally certified, such as EPA Safer Choice, Green Seal, or ECOLOGO; for paper products, also choose the highest post-consumer recycled content available.

Avoid products labeled as “anti-bacterial,” “flammable,” or “corrosive,” and those containing chlorine bleach or ammonia.

Use cleaning equipment designed to capture dust and particulates, such as HEPA filter vacuums.

Follow product label instructions, avoid mixing cleaning products, and use appropriate personal protective equipment for each task.

Maintain clean, organized janitorial storage areas with proper ventilation and labeling.

Keep Safety Data Sheets (SDS) accessible and up to date for all cleaning products in use.

- Train housekeeping staff and contractors on approved products, procedures, and safety requirements.

Follow the established cleaning schedules for apartments, common areas, and back-of-house spaces; see Appendix: Cleaning Schedules. [Customize the template for the property]

## Integrated Pest Management (IPM)

This building follows an Integrated Pest Management (IPM) approach to ensure effective pest control while minimizing the use of chemicals and protecting the health of residents and staff. The IPM strategy emphasizes prevention, monitoring, and the use of non-toxic methods to manage pests. All building staff are responsible for understanding the IPM Plan.

Key Aspects of the IPM Plan:

Prevention and pest-proofing actions including sealing entry points and managing waste

Monitoring includes ongoing pest inspections and resident reporting to identify issues early.

Sanitation focuses on maintaining cleanliness in common areas and ensuring proper in-unit housekeeping.

Non-chemical controls use physical traps and natural predators as the first line of defense.

Pesticide use is limited to eco-friendly, targeted pesticides applied by licensed professionals when necessary.

Detailed IPM templates are provided in the Appendix: Integrated Pest Management Plan. [Customize the template for the property]

# Waste Management

Proper waste management is required to maintain cleanliness, reduces pests and odors, protect resident health, and support the building’s sustainability goals. Staff are responsible for the following practices:

Check central trash, recycling, and compost areas regularly to ensure containers are labeled, clean, and not overflowing.

Communicate waste sorting rules clearly to residents using signage, written materials, and reminders.

Keep waste rooms orderly and free of loose debris to discourage pests.

Monitor recycling streams for contamination and notify management when corrective communication is needed.

Handle hazardous, special, and bulk waste according to established procedures and local regulations

Store hazardous materials safely and keep them out of resident-accessible areas.

Report missed pickups, damaged containers, or service issues promptly.

[If pursuing optional Criterion 6.5 Recycling Storage] Provide separate bins for trash and recycling in each dwelling unit and all shared community rooms; ensure bins are appropriately sized and labeled.

## Waste Management Resources

[Insert links or Appendices to address the following]

Waste collection schedule

Local recycling and composting rules

Treatment of hazardous and special waste

Treatment of bulky items and large waste

# Turnover, Replacement and Renovations

[Optional recommended section, except see Waste Reduction portion if pursuing optional Criterion 6.2]

Follow these guidelines to preserve indoor air quality, reduce waste, and maintain the building’s green performance during any construction activities throughout the life of the building, particularly when making capital improvements or during unit turnover.

## Unit Turnover

Turnover work presents an opportunity to correct maintenance issues and verify system operation while getting units rent-ready.

Utilize a customized Turnover Checklist to ensure no opportunities are missed. See Appendix: Turnover Checklist.

Train all incoming residents and ensure each receives the Resident Manual.

## Green Procurement Guidelines During Construction

### Flooring, Paints, Primers, Adhesives, Sealants, and Wood Products

Use low-VOC or zero-VOC products that comply with Green Seal, GREENGUARD Gold, or California Section 01350 standards to protect indoor air quality.

Select environmentally preferable flooring options, such as natural linoleum, cork, bamboo, or Forest Stewardship Council (FSC) certified wood. Recycled content and reclaimed wood are also recommended. Avoid vinyl and products containing phthalates.

Avoid using tropical wood unless FSC certified.

Ensure all wood and composite wood products are free from added urea formaldehyde.

### Plumbing Fixtures, Lighting, and Appliances

Install WaterSense certified fixtures, with flow rates no higher than 1.5 gpm for faucets, 1.75 gpm for showerheads, and 1.28 gpf for toilets.

Install only high efficacy LED lighting. Replace lighting controls as needed.

Ensure all replacement appliances are ENERGY STAR certified for optimal energy efficiency and low water usage.

### HVAC and DHW Equipment

Ensure HVAC and DHW systems meet or exceed current ENERGY STAR standards.

Follow any thresholds outlined elsewhere in this document and in the Criteria to ensure compliance with energy efficiency standards.

## Waste Reduction During Construction

- [If pursuing optional Criterion 6.2 for end-of-use building materials or disassembly, include specific products and instructions here]

Salvage or reuse materials wherever possible to reduce waste.

Recycle construction and demolition waste according to local regulations.

Avoid unnecessary replacement of functional materials and equipment.

Ensure proper disposal of hazardous waste, including paints, adhesives, and chemicals, following all local disposal guidelines.

## Indoor Air Quality During Turnover or Renovations

Isolate the HVAC system serving renovation areas from the rest of the building to prevent the spread of dust, debris, and contaminants.

Inform residents about any work that may affect their health or comfort, such as dust or noise, and provide respiratory protection if needed.

During carpet removal, take extra precautions to minimize the release of dust, mold, and allergens into the air.

Use low-emitting, non-toxic materials and cleaning products to maintain good indoor air quality throughout the renovation process.

[Add others]

# Appendix: Resources and References

Key reference documents are available to staff and kept in designated locations.

[Spell out where electronic copies as well as physical copies are kept, AND ensure off-site access (e.g., cloud storage) in case of a catastrophic incident]

| Document | Location & Storage | Maintained by |
| --- | --- | --- |
| Manuals for all major building equipment | Physical copies kept in facility manager’s office or placed near equipment in protective coverings as appropriate. | Facility Manager |
| Warranties for all major building equipment. | Copies kept by the Property Manager. List physical and electronic locations. | Property Manager |
| Outside service provider contracts | Copies of all contracts and scopes of work for vendors kept by the Property Manager. List physical and electronic locations. | Property Manager |
| As-built drawings | Physical copy kept in facility manager’s office. Provide location of electronic copy. | Facility Manager; Property Manager |
| Certificate of Occupancy | Copy posted on wall next to facility manager’s office. Provide location of electronic copy. | Facility Manager; Property Manager |
| Equipment Use Permits | Copies posted next to equipment. Provide location of electronic copy. | Facility Manager; Property Manager |
| Elevator Inspection Certificates | Up-to-date copy posted inside each elevator cab. Provide location of electronic copy. | Facility Manager; Property Manager |
| Green Resident Manual | Physical copies kept in facility manager’s office or placed near equipment in protective coverings as appropriate. | Facility Manager |
| Emergency Management Manual | List physical and electronic locations. Must be available both on-site and off-site in case of a catastrophic event. |  |
| Water Quality Management Program | Appendix of this manual |  |
| Health Action Plan |  |  |
| Instructional tools (e.g., QR codes, videos, magnets, etc.) | Provide tool name, where to find it, how to distribute it, and other key information. |  |
| [Add others] |  |  |

# Appendix: Logins

[Optional recommended section]

Web-based monitoring and management usernames and passwords are shared to facilitate access to all applicable staff.

| System | Website | Login | Password |
| --- | --- | --- | --- |
| Broadband access |  |  |  |
| BMS | www.example.com |  |  |
| ENERGY STAR Portfolio Manager |  |  |  |
| Water utility |  |  |  |
| Electric utility |  |  |  |
| Gas utility |  |  |  |
| EV Charger Network Management Platform | E.g., EV Connect or ChargeLab |  |  |
| Leak detection system |  |  |  |
| Irrigation monitoring system |  |  |  |
| Building access system |  |  |  |
| Security monitoring system |  |  |  |
| Automated lighting system |  |  |  |
| [Add others] |  |  |  |

# Appendix: Vendors and Service Providers

## Current Vendors

| Vendor Role | Contact Information | Responsibilities |
| --- | --- | --- |
| Janitorial / Cleaning Contractor | Name Org Phone Email | Performs green and healthy housekeeping per approved procedures and product lists. |
| Waste Hauler | Name Org Phone Email |  |
| Landscape Service Provider | Name Org Phone Email |  |
| Pest Management Provider | Name Org Phone Email | Implements Integrated Pest Management (IPM) plan; monitoring, reporting, and treatment as needed. |
| Elevator Service Provider | Name Org Phone Email |  |
| Fire Protection Systems Provider | Name Org Phone Email |  |
| Generator / Backup Power Provider | Name Org Phone Email |  |
| HVAC Service Provider | Name Org Phone Email | Performs seasonal maintenance according to equipment manufacturer’s instructions; repairs systems as needed. |
| Electrician | Name Org Phone Email |  |
| Plumber | Name Org Phone Email |  |
| Water Treatment / Legionella Consultant | Name Org Phone Email |  |
| Laundry Service Provider | Name Org Phone Email |  |
| EV Charger Provider | Name Org Phone Email |  |
| Green Roof Service Provider | Name Org Phone Email |  |
| [Add others] |  |  |

## Service Schedule

| Service | Schedule | Expected Service and Notes |
| --- | --- | --- |
| Janitorial / Cleaning | Daily to weekly | Clean common areas using approved green cleaning products and procedures per Cleaning Schedules. |
| Waste Hauling | Weekly | Remove waste, recycling, and compost. |
| Site Maintenance | Weekly (growing season); monthly (off-season); event-based (snow removal) | Maintain plantings, remove debris, manage irrigation, remove snow, and monitor site conditions per site maintenance standards. |
| Pest Management | Monthly or as needed | Perform inspections, monitoring, and targeted treatments following Integrated Pest Management practices. |
| Elevator Service | Monthly | Perform routine inspections, lubrication, safety checks, and minor adjustments; respond to call-backs as needed |
| Fire Protection | Annually (per code) | Test fire alarm devices, panels, and notification systems; Inspect sprinkler heads, valves, and gauges; test flow and alarms; provide inspection report and address deficiencies for code compliance. |
| Generator / Backup Power Service | Annually | Test generator under load, inspect fuel and batteries, and confirm readiness for power outages. |
| HVAC Service | Twice per year (pre-heating and pre-cooling seasons) | Inspect, clean, and tune HVAC equipment; verify controls and safety devices; document findings and required repairs. |
| Electrical | As needed; annual inspection recommended | Inspect panels, lighting controls, and common area systems; address safety or code concerns. |
| Plumbing | As needed; annual inspection recommended | Respond to leaks and blockages; inspect pumps, valves, and fixtures; support preventive maintenance. |
| Water Treatment / Legionella Management | Annually (or per plan) | Review water management plan, test required points, and update documentation as needed. |
| Laundry Service | Quarterly | Inspect machines, clean dryer vents, calibrate controls, test safety features, replace belts and hoses. |
| EV Charger Service | Annually | Perform diagnostics, test electrical current and voltages, inspect internal wiring, and test safety mechanisms. |
| Green Roof Service | Seasonally | Monitor plant health, inspect irrigation systems, pull weeds, replace bare spots, clear drainage features, and prepare for season changes. |
| [Add others] |  |  |

# Appendix: Training Staff and Residents

## Building Staff Training Schedule

| Training Topic | Frequency | Responsible Party |
| --- | --- | --- |
| Overview of building systems and green features | At hire; refresher every 2–3 years | Property Manager / Facility Manager |
| HVAC, ventilation, and domestic hot water operation | At hire; after major system changes | HVAC Contractor / Facility Manager |
| Thermostats, controls, and energy management systems | At hire; annual refresher | Facility Manager |
| Energy and water monitoring and benchmarking (e.g., utility review, Portfolio Manager) | Annually | Property Manager / Facility Manager |
| Leak detection systems and response procedures | At hire; annual refresher | Facility Manager / Plumbing Contractor |
| Plumbing systems, shutoffs, and water efficiency features | At hire; annual refresher | Facility Manager |
| Radon mitigation systems and monitoring requirements | At hire; after testing or mitigation updates | Environmental Consultant / Facility Manager |
| Integrated Pest Management (IPM) procedures | At hire; annual refresher | Pest Management Provider / Property Manager |
| Green and healthy housekeeping practices | At hire; annual refresher | Janitorial Supervisor / Property Manager |
| Waste sorting, recycling, composting, and hazardous waste handling | At hire; annual refresher | Property Manager |
| Access control, intercoms, cameras, and security systems | At hire; after system updates | Security Vendor / Facility Manager |
| Interior and exterior lighting systems, controls, and emergency lighting | At hire; annual refresher | Facility Manager / Electrical Contractor |
| Window, sliding door, balcony, and railing safety features | At hire; refresher every 2–3 years | Facility Manager |
| Irrigation systems, seasonal programming, and water conservation | Seasonally; after system changes | Landscape Contractor / Facility Manager |
| Landscaping maintenance, stormwater features, and erosion control | Annually | Landscape Contractor |
| Traffic safety and pedestrian circulation features (paths, signage, crossings) | At hire; refresher every 2–3 years | Property Manager / Facility Manager |
| Emergency response procedures and emergency shutoffs | At hire; annual drill or refresher | Emergency Manager |
| Backup power systems and resilience features | At hire; annual refresher | Generator Contractor / Facility Manager |
| Climate resilience procedures (extreme heat, cold, flooding, smoke events) | Annually | Property Manager / Facility Manager |
| Wildfire preparedness and defensible-space maintenance (where applicable) | Annually | Property Manager / Landscape Contractor |
| [Add others] |  |  |

## Resident Orientation Agenda

- What is a green building?

  - Green buildings prioritize resource conservation such as energy and water, protecting the surrounding environment, and providing a safe and healthy living space for residents

  - Green Communities – a green building rating system administered by Enterprise Community Partners, exclusively for affordable housing

  - Certified green buildings contain a wide range of features to improve efficiency, durability, occupant health, and comfort

- Unique equipment and features of your green home

  - ENERGY STAR appliances, lighting, and equipment

  - Programmable Thermostat (see attached handout)

  - Automated systems or controls

  - Improved air sealing and insulation

  - Fresh-air supply

  - Carbon monoxide alarm

  - Water-efficient plumbing fixtures

  - Community resources and transportation

- Operating and maintaining the equipment in your home

  - Using your Resident Manual

  - Operating key equipment: appliances, heating and cooling equipment

  - How to read your Utility Bill

- Energy and water efficiency tips (see Resident Manual)

  - Discussion: What are some common myths or misunderstandings surrounding energy and water efficiency? Example: turning the heat up to 85 degrees makes the room heat up faster

  - Discussion: How do you save energy and water? What tips work best for you?

- Trash and recycling

  - Trash can go in the chute in the trash room, and recycling bins are located there as well

  - Do NOT place large boxes or bulk trash in the chute. Discuss how to dispose of unusual items appropriately

  - Discuss local recycling protocols to thoroughly understand what can and cannot be recycled

- Healthy living in your home

  - Manage healthy indoor air quality

    - Clean lint screen in dryer after each use

    - Use bath fans while showering and for at least 20 minutes after

    - Use kitchen exhaust fan while cooking

    - Check/replace batteries in smoke and carbon monoxide detectors.

  - Keep toxic products out of your home

    - Avoid chlorine bleach

    - Avoid using “air freshener” products with para-dichlorobenzene

    - Non-toxic cleaning strategies (see Resident Manual)

  - Discussion: How do you maintain a healthy living environment? What challenges do you face in trying to be healthier in your home?

- When and how to contact building management (see Resident Manual)

  - Any leaks (Toilet, faucets, clothes washer, dishwasher, water heater, etc.)

  - Burned out lights

  - Bulk trash / recycling

## Orientation Sign-In Sheet

| Name | Apartment | Date Trained | Trainer Initials |
| --- | --- | --- | --- |

# Appendix: Approved Cleaning Products

Reliable proxies include Green Seal, EPA Safer Choice, and ECOLOGO certifications.

| Use | Approved Brand + Product |
| --- | --- |
| All-Purpose Cleaner | EcoLogic Solutions E-14 All Purpose Cleaner Simple Green All-Purpose Cleaner Seventh Generation All-Purpose Cleaner Stratus Building Solutions No. 1 Green Clean All-Purpose Cleaner |
| Heavy-Duty Cleaner | Aqua ChemPacs LLC ACP All Purpose Heavy-Duty Cleaner EcoLogic Solutions E-38 Citric Acid Cleaner Prism Chemicals Eco-Max MPC-256 Ultra Multi-Purpose Cleaner & Odour Neutralizer |
| Bathroom Cleaner | Aqua ChemPacs LLC ACP Non‑Acid Bathroom Cleaner Bebbington GREEN Bowl Cleaner Simple Green Clean Building Bathroom Cleaner Concentrate |
| Floor Cleaner | EnvirOx Green Certified Neutral Floor Cleaner Aqua ChemPacs LLC ACP Neutral Floor Cleaner Bioesque Neutral Floor Cleaner Avmor EcoPure EP 63 Lemon Neutral |
| Carpet Cleaner | Simple Green Clean Building Carpet Cleaner Concentrate Nyco e.Logical GO2 Spotter/Deodorizer |
| Cleaner / Degreaser | Simple Green Industrial Cleaner Degreaser Simoniz BlendRite Green Scene MSD-32 Heavy Duty Degreaser Betco Green Earth Velocity Non-Butyl Degreaser |
| Glass Cleaner | CloroxPro EcoClean Glass Cleaner Spray Focus GC 55 Glass & Window Cleaner Simoniz BlendRite Green Scene GC‑20 Nyco e.Logical VOC Free Glass Cleaner |
| Disinfectant / Sanitizer | CloroxPro Clorox EcoClean Disinfecting Cleaner Ecolab Peroxide Multi Surface Cleaner and Disinfectant Betco GE Fight Bac RTU ECOS PRO Multi-Surface Disinfectant & Sanitizer 3M Sanitizer and Disinfectant Cleaner |
| Lime & Rust Remover | Cleaning vinegar CLR PRO Calcium, Lime & Rust Remover Ecolab Calcium, Lime & Rust Remover EcoClean Scale & Rust Remover |
| Hand Soap | - Foaming: GOJO Green Certified Foam Hand Cleaner Buckeye Symmetry Green Certified Foaming Hand Wash Clearly Green Foam Soap - Not Foaming: Rubbermaid Green Seal Certified Lotion Soap ECOS PRO EPA Safer Choice Hand Soap |
| [Add others] |  |

### Product Tip

As certified labels may change over time, periodically confirm that products remain listed on recognized green certification databases before reordering.

| Green Seal https://greenseal.org/ | EPA Safer Choice www.epa.gov/saferchoice/products | ECOLOGO www.ul.com/resources/ecologo-certification-program |
| --- | --- | --- |

# Appendix: Cleaning Schedule

| Area | Frequency | Cleaning Procedure | Responsible Party |
| --- | --- | --- | --- |
| Entryways & Hallways | Daily / Weekly | Sweep, vacuum, and mop floors using non-toxic, low-VOC cleaners. Clean door handles and windows. | Janitorial Staff |
| Lobby & Common Areas | Daily / Weekly | Wipe down furniture, clean glass surfaces with biodegradable cleaners. Vacuum with HEPA filter vacuums. | Janitorial Staff |
| Stairwells | Weekly | Sweep, vacuum, and mop. Wipe down railings with non-toxic cleaner. | Janitorial Staff |
| Fitness Room | Daily / Weekly | Wipe down equipment with eco-friendly disinfectants. Vacuum floors with HEPA vacuum. | Janitorial Staff |
| Public Restrooms | Daily / Weekly | Clean sinks, toilets, and floors with non-toxic cleaners. Replace air fresheners with natural alternatives. | Janitorial Staff |
| Elevators | Daily / Weekly | Clean elevator walls, buttons, and floors using green-certified cleaners. | Janitorial Staff |
| Laundry Rooms | Weekly | Wipe down machines with non-toxic disinfectants. Sweep and mop floors with eco-friendly solutions. | Janitorial Staff |
| Bicycle Storage | Weekly | Sweep floors and wipe down surfaces with biodegradable cleaners. | Janitorial Staff |
| Trash & Recycling | Weekly | Clean bins and floors. Ensure recycling bins are properly labeled and clean. | Janitorial Staff |
| Exterior Grounds | Weekly / Monthly | Clear debris, clean outdoor seating, and inspect landscape for cleanliness. Apply natural, non-toxic treatments as necessary. | Landscaping Staff |
| Windows (Common Areas) | Monthly | Clean with non-toxic glass cleaners. Use microfiber cloths to reduce chemical use. | Janitorial Staff |
| HVAC (Common Areas) | Quarterly / Annually | Replace filters with low-VOC filters. Clean vents and ducts. | Maintenance Staff |
| Carpets (Common Areas) | Bi-Annually / As Needed | Steam clean with non-toxic, biodegradable cleaners. Vacuum with HEPA filters. | Janitorial Staff |
| Upholstered Furniture | Bi-Annually | Vacuum with HEPA vacuums. Clean stains with non-toxic upholstery cleaner. | Janitorial Staff |
| Kitchen (Common Areas) | Weekly | Clean countertops, sinks, and appliances with eco-friendly cleaners. | Janitorial Staff |
| Laundry Machines (In-Unit) | Annually | Wipe down with natural cleaners. Clean dryer vents to avoid buildup. | Residents/Building Staff |
| Pest Control | As Needed | Use integrated pest management (IPM) techniques. Apply non-toxic pest control products as a last resort. | Maintenance Staff/Contractor |
| Floors (Common Areas) | Daily / Weekly | Sweep and mop floors with non-toxic, biodegradable solutions. | Janitorial Staff |
| Wall Surfaces (Common Areas) | Monthly | Wipe down with eco-friendly, non-toxic cleaner. Clean any spots or stains. | Janitorial Staff |
| Parking Garage | Monthly | Sweep floors and clean high-touch areas. Use non-toxic degreasers for spots. | Landscaping Staff |
| Building Entrances (Exteriors) | Monthly | Clean exterior door frames and entrance areas with non-toxic cleaners. | Landscaping Staff |
| Roof | Quarterly / Annually | Clean roof drainage systems, remove debris, and inspect for damage. Use eco-friendly materials. | Maintenance Staff |
| Utility Rooms | Quarterly | Sweep floors, wipe surfaces, and ensure proper operation of equipment. | Maintenance Staff |
| Water Features | Monthly | Clean water features with eco-friendly products. Regularly check water quality. | Landscaping Staff |
| Entryways & Hallways | Daily / Weekly | Sweep, vacuum, and mop floors using non-toxic, low-VOC cleaners. Clean door handles and windows. | Janitorial Staff |
| Lobby & Common Areas | Daily / Weekly | Wipe down furniture, clean glass surfaces with biodegradable cleaners. Vacuum with HEPA filter vacuums. | Janitorial Staff |
| [Add others] |  |  |  |

# Appendix: Integrated Pest Management (IPM)

## Engaging an IPM Vendor

A pest management company specializing in IPM brings valuable expertise to the building. The following resources contain sample Requests for Proposal and Scopes of Work to help engage a qualified vendor.

Stop Pests in Housing’s IPM Guide for Affordable Housing (2012), Northeastern IPM Center, and www.stoppests.org.

NYC.gov’s Integrated Pest Management Toolkit for Building Owners, Managers and Staff (2016), NYC Department of Health.

## Sample IPM Plan

### Property Details

| Property name: |  |
| --- | --- |
| Date adopted: |  |

### Integrated Pest Management (IPM) Policy Statement

This property prioritizes prevention, structural maintenance, and sanitation to maintain a healthy and pest-free environment. Routine chemical spraying is prohibited; pesticides will only be applied as a last resort by licensed professionals.

### The IPM Team

Effective IPM requires coordination. The following individuals are responsible for the success of this program.

| Role | Contact Information | Responsibilities |
| --- | --- | --- |
| IPM Coordinator | Name Org Phone Email | Oversees the IPM log, acts as liaison between staff and PMP. |
| Property Manager | Name Org Phone Email | Enforces lease/housekeeping standards, hires qualified PMPs. |
| Pest Management Professional (PMP) | Name Org Phone Email | Performs inspections, monitoring, and targeted, least-toxic treatments. |
| Maintenance Staff | Name Org Phone Email | Completes structural repairs (sealing holes, fixing leaks). |
| Resident Support | Name Org Phone Email | Assists vulnerable residents with unit preparation and compliance. |

### The IPM Workflow (The "Standard Operating Procedure")

- Reporting: Residents/staff report pests via Work Order System, logged immediately.

- Inspection: The PMP or trained staff member inspects the reported area (and adjacent units).

- Communication: The PMP records findings in the IPM Log. Management assigns maintenance tasks (e.g., sealing gaps, repairing leaks) based on these findings.

- Treatment: PMP implements non-chemical controls (traps, vacuuming, sanitation) first. Pesticides are used only if thresholds are exceeded and are applied via baiting or crack-and-crevice methods.

- Follow-up: The IPM Coordinator ensures the work was completed and monitors effectiveness.

### Property-Wide Operational Procedures

To prevent infestations, the following preventative measures are strictly enforced:

Sanitation: Clean compactor rooms weekly, keep trash sealed and off the floor, and no loose garbage.

Maintenance & Exclusion: Seal all penetrations, joints and cracks using pest-proof sealant and/or metal plantes and mesh, fix leaks within hours, ensure tight-fitting door sweeps and weatherstripping, keep landscaping trimmed away from the building, and manage site runoff to avoid water pooling nearby.

Pest-Specific Strategies:

  - Cockroaches: Target kitchen/bath, use baits and HEPA vacuums.

  - Rodents: Exclusion and trapping; use rodenticides only as a last resort.

  - Bed Bugs: Inspect adjacent units, use non-chemical methods (heat, encasement).

Pesticide Use Policy:

  - Pesticide use requires prior written approval from the Property Manager.

  - Only containerized baits, gels, or spot treatments are allowed.

  - Residents must be notified 24 hours in advance of any pesticide application.

### Required Documentation (The IPM Log)

To ensure compliance and program effectiveness, maintain a central IPM Log binder/file containing:

Focus Unit Tracking Log: A summary of active infestations and resolution status.

Service Records: Detailed reports from the PMP for every visit (including specific products used).

Applicator Licenses/Insurance: Copies of current credentials for the PMP.

Pesticide Labels/MSDS: Copies of all product labels used on the property.

### Sign-off

By signing below, the Management and Maintenance team agree to follow these IPM guidelines as a mandatory condition of property operations.

| Name and Role | Signature | Date |
| --- | --- | --- |

# Appendix: Smoke-Free Policy

[Insert the property’s Smoke-Free Policy here. Clearly distinguish between the mandatory requirements of Criterion 7.4 and optional enhanced smoke-free policy measures the project is pursuing]

# Appendix: Water Quality Management Program

[If this building has lead service lines, a central DHW system, a cooling tower, or is 10 stories or taller, Criterion 4.3 requires a Water Quality Management Program.

Projects pursuing the Water Testing and Remediation pathway under this Criterion (for lead, arsenic, nitrates, and coliform bacteria) are also required to create a Program.

Green Communities provides a template to assist in preparing this plan to address the hazards posed by lead pipes, Legionella, and other contaminants]

# Appendix: Turnover Checklist

[Optional recommended section]

|  | Unit Turnover Checklist |
| --- | --- |
|  | Inspect units immediately at move-out and complete a detailed checklist. |
|  | Verify the correct operation of thermostats and HVAC systems. Adjust seasonally for energy efficiency (68°F in winter, 78°F in summer). |
|  | Verify that ventilation systems and exhaust fans are operating correctly. Spin fan wheels by hand to check for rubbing or loud vibration. Inspect and clean ERV cores per manufacturer’s instructions. |
|  | Replace air filters in units and common areas, following the appropriate MERV rating for each system. |
|  | Clean and vacuum vents, grilles, washable filters in PTHPs, grease filters in range hoods, and refrigerator coils. |
|  | Test that all drains and drain pans (including those under washers, water heaters, or condensate drains) are clear and functioning. |
|  | Check all appliances for condition and verify operation. Deep clean each (see Lighting and Appliances Maintenance Checklist under Building Systems). |
|  | Check for leaks in plumbing fixtures, and ensure all faucets, showerheads, and toilets meet WaterSense standards. |
|  | Check showerheads and dishwashers for scale buildup, cleaning with vinegar as needed. |
|  | Verify DHW temperature of 120°F and flush hot water tanks to remove sediment. |
|  | Inspect and maintain appliances to confirm they are ENERGY STAR certified, functioning properly, and use appropriate settings. |
|  | Verify condition of clothes washer hoses and replace as needed. Ensure washers and dryers are level and on firm footing. |
|  | Inspect dryer exhaust duct for crimps and obstructions. Clean out the entire exhaust duct line from the dryer to the exterior. |
|  | Verify all lighting and controls are operating properly. |
|  | Check functionality and battery life in all smoke and carbon monoxide alarms, thermostats, and intercoms. |
|  | Replace flooring and appliances only at the end of their useful life. |
|  | Inspect interior walls, ceilings, trim, and floors for wear, damage, or staining. |
|  | Repair and touch up paint, finishes, caulk, and grout. |
|  | Deep clean carpets. |

# Appendix: Hazardous Waste Disposal Guidelines

[Optional recommended section]

Incorrect disposal of hazardous waste can threaten human health and contaminate air, water, and soil, harming flora and fauna. If it is unclear how to dispose of hazardous items, consult [insert local resource website]:

Consider organizing pick-up events for hazardous waste for residents or providing convenient drop-off locations for common household hazardous waste items.

The following products qualify as hazardous waste and require special disposal:

Antifreeze

Refrigerants

Batteries

Fluorescent lamps & light bulbs

Electronics like televisions, cell phones, computers, printers & cartridges

Paints

Pool chemicals

Household cleaners

Medications and medical needles/syringes

Mercury thermometers & thermostats

Pesticides, herbicides & chemical fertilizers

Camping fuel

Products showing Corrosive, Explosive, Flammable, Health Hazard, or Poison

# Appendix: Tips for Common HVAC Issues

[Optional recommended section]

| Equipment | Common Issues | Operating Tips |
| --- | --- | --- |
| Air Source Heat Pumps | Dirty outdoor condensers | Clear condensers of debris, ice, and snow. Listen during operation; noise can indicate trouble inside the housing. |
|  | Incorrect operating schedules | Monitor energy performance monthly. Anomalies may be due to controls issues. |
|  | Poor performance in extreme cold | Regularly defrost coils, check refrigerant levels, and inspect the air handler for airflow issues. |
|  | Dirty air filters | Check filters more often than manual suggests. |
| Air Handling Units (AHU) | Dirty air filters | Replace or clean filters every 1-3 months to maintain airflow and indoor air quality. |
|  | Blocked air pathways | Verify that furniture, curtains, or debris are not blocking supply or return vents. |
|  | Blocked condensate drains | Inspect regularly, clear drains with a wet/dry vacuum or compressed air, and clean with a damp cloth and mild cleaner |
|  | Electrical & control issues | Reset tripped circuit breakers, check for loose wiring, ensure unit is receiving proper voltage, and verify if actuators are operating properly. |
|  | Dirty coils and blowers | Use a stiff nylon brush and vacuum the coils or fan blades clean |
| Thermostats | Incorrect readings | Calibrate thermostats yearly and ensure they are not affected by direct sunlight or air vents |
| Unit Heaters | Incorrect timing / temperature check | Monitor usage to confirm heater isn’t running unnecessarily. |
| Exhaust & Ventilation | Dirty intakes, filters, or grilles | Replace filters; clean intakes/grilles with vacuum or nylon brush; ensure dampers open freely. |
|  | Fan motor tuning | Ensure fans are tuned to the appropriate speed settings and operate smoothly. |
|  | Airflow imbalance | Check flow rates. Rebalance every few years. |

# Appendix: Green Certification Details

[Optional recommended section]

[A copy of the project checklist / certificate may be included here].

# Appendix: Project Priorities Survey

[Optional recommended section]

[A copy of the project priorities survey may be included here. Cross-reference with relevant sections of this Manual to illustrate how priorities identified early in design impacted the final building systems, operation & maintenance]

# Appendix: Health Action Plan

[Optional recommended section]

[A copy of the post-occupancy portions of the Health Action Plan may be included here. Cross-reference with relevant sections of this Manual]